## Sheet1
Components Chart
TAG | ITEM | DESCRIPTION | MANUFACTURER | RATING | Qty
ELC-01 | Arrester | Lightning arrester & Earthing | Ingesco | 60kA, 40m coverage | 1
AC-02 | Net_meter | Bi-directional Meter | Secure Meters | 230V, 30A / 60A. Class 1.0 | 1
AC-01 | ACDB_box | Generic ACDB box | Havells | 32A, 230V | 1
BAT-01 | Battery | LiFePO type | Generic | 48V, 4.8kWh nominal | 1
DC-02 | DC_breaker | DC Breaker for Battery | Beny Electric | 20A, 500V DC | 1
INV-01 | Inverter | Hybrid Solar Inverter | GoodWe | 5kW | 1
DC-01 | DCDB_box | Generic DCDB box | Suntree | 2-In/2-Out, 600V | 1
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W | 12
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W
PV-01 | Solar_Panel | Solar PV Module | JA Solar | 450 W